Vallejo Marina Quarterly Improvements and Projects

August-October 2019

1. Build and install two new fingers on I-Dock slip 32 and 33.
2. Remove and throw away two old fingers on I-Dock slip 32 and 33.
3. Weld gate at boat launch.
4. Repair main walkway on I-Dock 60’ total.
5. Replace whaler boards on I-Dock 60’ total.
6. Install security signs around Marina lots and buildings.
7. Repair main water line on H-Dock gangway.
8. Repair fire line on K-Dock.
9. Install all new sprinkler heads on Zio’s lawn.
10. Repair main water line on I-Dock.
11. Replace two pile rings on I-Dock.
12. Install new GFI plug in K-Dock restroom.
13. Repair toilet at boat launch ramp.
14. Clean and install storm drains mesh of winter, SWPPP logs.
15. Sunken boat on C-Dock pumped out and removed.
16. Repair sewer pump out on D-Dock.
17. Repair K-Dock slip 55 water line.
18. Replace 2 pile rings on B-Dock.
19. Replace springs on spike strips at launch ramp.
20. Repair C-Dock finger with new foam and wood.
21. Repair another 40’ section main walkway on I-Dock.
22. Replace two hose bibs on C-Dock.