

|  |
| --- |
| Projects |
|

|  |  |
| --- | --- |
| x | NEW LED LIGHTING C-DOCK |
| X | LED LIGHTING ALL PARKING LOTS |
| x | LED LIGHTING SHOP, LAUNCH RAMP,  |
| x | NEW DECKING & DRYROT REPAIRS F DOCK |
| x | H DOCK REPAIR / REBUILD 275’ TOTAL |
| x | NEW FOAM ON F, H, AND I DOCK |
| x | REBUILD FINGERS B DOCK |
| x | REPLACE PILE RINGS F & I DOCK (4 TOTAL) |
| X | PURCHASE & INSTALL ALL NEW LIFE RING BOXES |
| X | INSTALL NEW HOSE REELS |
| X | NEW DECKING & DRYROT REPAIRS D DOCK |
| X | E DOCK DECKING, CLEATS & RUB RAIL |
| X | INSTALL NEW GANGWAY F DOCK |
| X | INSTALLED 4 NEW POWER PEDASTLES  |
| X | # 7 SHEETROCK REPAIRS |
| x | PAINTED ENTRANCE WALL AND INSTALLED NEW LIGHTS |
| X | REPAIR SHOWER VALVE IN WOMEN’S RESTROOM BUILDING 42 |
| X | NEW LED BALLAST LIGHTING & PAINT ALONG PROMENADE |
| X | INSTALLED NEW GANGWAY E DOCK |
| X | REPAIRED HOLES AND PUT NEW TRIM & NEW TOILET LAUNCH RAMP RESTROOM |
| X | PURCHASED NEW CAMERAS FOR ENTIRE MARINA PARKING LOT/GATES |
|  | J DOCK RAMP DIPPING / RESEARCH REPAIR |
| X | COMPLETED REPAIRS DUE TO DREDGE DAMAGE: (4 FIREBOXES J DOCK); REPLACE 15 20’ WHALER BOARDS; REPLACE 1 POWERBOX (K DOCK); REPAIR 3 LIFERING POSTS; |
| X | REPAIR 5 FINGERS ON K DOCK |
| X | INSTALLED NEW LANDSCAPING BARK  |

 |